Essential Document Checklist

| DOCUMENT NO.: | GS002-WI01 v1.0 |
| --- | --- |
| AUTHOR: | Lorn Mackenzie |

# FOREWORD

## The Academic & Clinical Central Office for Research & Development (ACCORD) is a joint office comprising clinical research management staff from NHS Lothian (NHSL) and the University of Edinburgh (UoE).

## The table at section 2 is a checklist of essential documents required for the combined risk assessment meeting (SOP GS002) when reviewing a clinical investigation or performance evaluation of a medical device. The checklist is based on the MHRA validation checklist.

## The table at section 3 is a checklist of essential documents required for the combined risk assessment meeting (SOP GS002) when reviewing a Clinical Trial of a Medicinal Product (CTIMP), or other invasive, experimental or complex research studies. The checklist is based on the Combined Review Checklist.

## All documents should be version controlled following ACCORD SOP QA008 and labelled as separate attachments with titles reflecting the content.

# Clinical Investigation Documentation Checklist

|  | - Risk Assessment | - Regulatory Submission |
| --- | --- | --- |
| - Clinical Investigation Plan (CIP) or Performance Evaluation Plan (PEP) | - ✓ | - ✓ |
| - Investigator Brochure (‘IB’) – specific requirement for Medical Devices - The following is to be detailed in the IB; - Information on the device and its accessories (if any) such as intended purpose, drawings etc. - Summary of all bench testing and pre-clinical testing conducted - Summary of all clinical experience with the device to date | - ✓ | - ✓ |
| - Essential requirements checklist | - X | - ✓ |
| - Risk analysis | - X | - ✓ |
| - Patient information and Informed consent form | - ✓ | - ✓ |
| - Instruction for Use | - ✓ | - ✓ |
| - Investigational device labelling | - ✓ | - ✓ |
| - End of study reports - Please provide an end of study report for any concluded clinical investigations that involved the same medical device under investigation, if there are any. | - X | - ✓ |
| - CVs and evidence of recent GCP training for UK clinical investigators | - ✓ | - ✓ |

## Supplementary Documentation

|  | - Risk Assessment | - Regulatory Submission |
| --- | --- | --- |
| - Sterilisation validation report. - Only applicable if the device is sterile. To include certificates and accreditations held by the manufacturer and sub-contractors for microbiological safety and sterilisations activities. | - X | - ✓ |
| - Biological safety assessment - Only applicable where the device is implanted, invasive or comes into contact with injured skin or substances for eventual infusion / reinfusion. | - X | - ✓ |
| - Software Documents - Only applicable if the device contains software, the following documents are required; - Software Development Plan - Risk Management Plan and Report – specifically including the software hazard analysis. - Software Configuration Management Plan - Software System Requirements Specification - Software System Verification Plan and Report - Documented Software Problem Resolution Process - Evidence of review of completeness for software release | - X | - ✓ |
| - Electrical safety assessment - Only applicable if the device is electrical in any way i.e., is plugged in, uses batteries, etc. | - X | - ✓ |

## CTIMP (or other invasive, experimental or complex research studies)

# Documentation Checklist

|  | - Risk Assessment | - Regulatory Submission |
| --- | --- | --- |
| - Protocol | - ✓ | - ✓ |
| - Investigator Brochure (‘IB’) or Summary SPC (or both, if more than one product) | - ✓ | - ✓ |
| - Participant information and Informed consent form | - ✓ | - ✓ |
| - Participant Questionnaires / Diary Cards | - ✓ | - ✓ |
| - GP letters | - ✓ | - ✓ |
| - Invitation letters | - ✓ | - ✓ |
| - CVs and evidence of recent GCP training for UK clinical investigators | - ✓ | - ✓ |
| - Promotional materials | - ✓ | - ✓ |
| - IMP or NIMP labelling | - ✓ | - ✓ |
| - IMPD* | - ✓ | - ✓ |
| - Certificate of Analysis* | - ✓ | - ✓ |
| - Authorisation of manufacturing and import/QP GMP Certification* | - ✓ | - ✓ |
| - DMC Charter* | - X | - ✓ |
| - PPI Input* | - X | - ✓ |

- *if relevant

## Supplementary Documentation

|  | - Risk Assessment | - Regulatory Submission |
| --- | --- | --- |
| - Essential requirements checklist | - X | - ✓ |
| - Cover Letter | - X | - ✓ |
| - Proof of Insurance | - X | - ✓ |
| - Financial Arrangements | - X | - ✓ |
| - Letter from Funder | - X | - ✓ |
| - Local Information Pack template | - X | - ✓ |
| - mCTA | - X | - ✓ |
| - Organisation Information Document | - X | - ✓ |
| - Schedule of Events/SoCAT | - X | - ✓ |